[Property Address]

Monthly Property Condition Checklist

For Month of:	___________________________

Report completed on:  						[date]

Report completed by:

BASEMENT:

1.	Dehumidifier: (located at bottom of steps)

Is it on and operating?  	YES		NO

Is hose firmly attached to back of unit?	YES		NO

Clean filter if needed:

Looking at front of unit, pull filter out on right side of unit.

If dirty, clean by running under water.  Then replace.

Filter located here.

2.	Utility Room:

Any evidence of water on floor or lower walls?	YES		NO

3.	Laundry Room:

Dryer:	Remove lint trap and clean.

Put lint in white trash can (not in sink).

Utility Sink:	Remove lint trap at drain and clean.

Put lint in white trash can (do not flush down sink).

Is utility sink faucet dripping?	  YES		NO

Floor:	Any signs of leaks or water?   	YES		NO

4.	Furnace Room:

Floor:	Any signs of leaks or water?   	YES		NO

Water softener:	Check salt level in drum.   If salt level is below 			line marked out outside of drum, add salt up to marked line.

Salt Supply:	Are there less than 3 bags?  	YES		NO

[Put salt on shopping list if there are less than 3 bags.]

Furnace:	Replace furnace filter with new one.

Turn off unit before replacing filter.

New furnace filters are on floor directly opposite where 					filter is inserted into furnace.

Remove old filter and throw away.

When inserting new filter, make sure top of filter shows 					this symbol:

AIR FLOW

And arrows are pointing toward the furnace.

**TURN FURNACE BACK ON WHEN DONE.**

On/Off Switch

Filter

Goes

Here

Filter Supply:   Are there less than three new filters left?	  YES	    NO

5.	Live-In Storage Room:

Live-In Refrigerator:	Does ice compartment have build up of 							more than 1/4 inch of ice?     YES 	NO

If yes, follow instructions in manual (page 2) to defrost refrigerator.

6.	Live-In Living Room:

Any sign of water?		YES		NO

Any other issues?  		YES		NO

7.	Live-In Bathroom:

Check Under Sink:  Any signs of leaks?    		YES		NO

Dripping faucets in shower or sink?			YES		NO

Extractor Fan:	Does it appear clean?  		YES 		NO

Toilet:	Is it running continuously?   		YES		NO

Any signs of leaks around base?	YES		NO

Good water pressure in shower and sink?		YES		NO

GFCI Outlet:      Is it working properly?		YES		NO

To Test:  Press the Test button.  If the outlet is working properly, the 				Reset button should pop out.  Press the Reset button to finish the test.

Sliding Door to Bedroom:      Any problems?	YES		NO

8.	Live-In Bedroom:

Are closet doors working properly?			YES 		NO

Is ceiling light fixture clean and dust-free?		YES		NO

[If not, please wipe clean to avoid fire.]

STAIRWAY To/From BASEMENT:

1.	Test CO2 Detector (At bottom of stairs on facing wall)

Is it working properly?		YES		NO

To test, hold Test button in for a few seconds.  If it beeps, it is working properly.

2.	Test Smoke Alarm (At top of stairs)

Is it working properly?		YES		NO

To test, hold Test button in for a few seconds.  If it beeps, it is working properly.

KITCHEN

1.	Range:

Are all burners and the oven working?  		YES		NO

2.	Extractor Fan above Range:

Is it working?  			YES		NO

Is filter clean?			YES		NO

[If not clean, remove and soak in hot, soapy water until clean.]

3.	Check Under Sink & Around Dishwasher:

Any signs of water leaks? 	YES	    	NO

4.	Garbage Disposal:

Is it working properly?		YES		NO

Look to see no items in disposal that are not garbage.

5.	GFCI Outlets by Sink:     Test each one.

Are they working properly?	YES		NO

To Test:  Press the Test button.  If the outlet is working properly, the 				Reset button should pop out.  Press the Reset button to finish the test.

GARAGE

1.	Door to Kitchen:

Does it close and lock properly?  	YES		NO

2.	Garage Door:

Is it working properly?		YES		NO

DINING ROOM

1.	Ceiling Fan: 	Is it working smoothly? 		YES 		NO

Replace light bulbs if needed.  [Use same wattages bulbs.]

2.	Sliding Patio Doors and Screen Doors:

Is “Charlie Bar” working properly:  doors cannot be opened, even if

locked?		YES			NO

LARRY’S ROOM

1.	Any Problems with:

Entry Door?		YES		NO

Window(s)?		YES		NO

Closet Doors?	YES		NO

Ceiling Fan?		YES		NO

Describe problems here:

Replace light bulbs in ceiling fan, if needed, using same wattages bulbs.

JOHN’S ROOM

1.	Any Problems with:

Entry Door?				YES		NO

Window(s)?				YES		NO

Closet Doors?			YES		NO

Ceiling Light Fixture?		YES		NO	{clean if needed}

Describe problems here:

Replace light bulb in light fixture, if needed, using same wattages bulbs.

UPSTAIRS HALL

1.	Test CO2 Detector (At bottom of stairs on facing wall)

Is it working properly?		YES		NO

To test, hold Test button in for a few seconds.  If it beeps, it is working properly.

2.	Test Smoke Alarm (At top of stairs)

Is it working properly?		YES		NO

To test, hold Test button in for a few seconds.  If it beeps, it is working properly.

UPSTAIRS BATHROOM

Check Under Sink:  Any signs of leaks?    		YES		NO

Dripping faucets in shower or sink?			YES		NO

Extractor Fan:	Does it appear clean?  		YES 		NO

Toilet:	Is it running continuously?   		YES		NO

Any signs of leaks around base?	YES		NO

Good water pressure in shower and sink?		YES		NO

Grab Bars:	Do they feel secure?			YES		NO

GFCI Outlet:   Is it working properly?		YES		NO

To Test:  Press the Test button.  If the outlet is working properly, the 				Reset button should pop out.  Press the Reset button to finish the test.

Windows  & Closet Doors:	Any problems?	YES		NO

OFFICE / THIRD BEDROOM

1.	Any Problems with:

Entry Door?				YES		NO

Window(s)?				YES		NO

Closet Doors?			YES		NO

Ceiling Light Fixture?		YES		NO	{clean if needed}

Replace light bulb in light fixture, if needed, using same wattages bulbs.

LIVING ROOM

1.	Any Problems with:

Entry Door and Storm Doors?		YES		NO

Closet Doors?				YES		NO

Ceiling Fan?					YES 		NO

2.	Cold Air Return under large sofa:

Is it clean?  					YES		NO

If not clean, please wipe clean to keep vent clear.

For Landlord Use Only

Date report received:

Follow-up needed?		YES			NO	     (Items to be followed-up are highlighted)

Who assigned to follow-up?

Date report and request for follow-up provided to this person: